BUILDING

GEOTECHNICAL ENGINEERING ANALYSIS

DEPARTMENT

TIP SHEET

When a Geotechnical Engineering Analysis is required by the Community Development Department the report shall be completed by a Geotechnical Engineer licensed and registered in the State of Washington.

The report shall include the minimum following information:

1.	Erosion control protection measures.

2.	Site preparation and grading requirements.

3.	Temporary and permanent slope protection measures.

4.	Foundation design recommendations.

5. 	Allowable soil bearing pressure.

6.	Retaining wall design recommendations.

7.	Structural fill recommendations.

8.	Site drainage recommendations.

Upon review of the Geotechnical Engineering Analysis by the Community Development Department compliance with the report will become a condition of the project.

Any deviations from the report will not be allowed unless written approval is obtained by the Geotechnical Engineer and submitted to this department.

Upon completion of the excavation for structures the Geotechnical Engineer shall confirm that the conditions encountered are consistent with those indicated by the explorations.  The Geotechnical Engineer shall provide this department with written confirmation of his findings.

Upon completion of the project and prior to final inspection by the building department, the Geotechnical Engineer of Record shall provide this department with a statement that to the best of their knowledge the work within their area of responsibilities is in accordance with the approved geotechnical report.

The Geotechnical Engineering Analysis required above differs from a Geologic Site Assessment which is often required by the Chelan County Department of Building/Fire Safety and Planning.  The firms that provide Geologic Site Assessments as required by Chelan County typically do not have the expertise in the field of Geotechnical Engineering.  Geotechnical Engineers will typically have greater skill in developing site-specific geotechnical designs, recommendations and criteria.